- Trouble Shooting

- Skylight(s)/Window(s) operate erratically

  - Skylight(s)

    - Verify the skylight operates properly with a hand crank

      - Torque to open should not exceed 15 in/lbs.

      - Chain may need to be lubricated if needed with a spray silicone lubricant

    - manual operator should operate smoothly

      - Chain may need to be lubricated if needed with a spray silicone lubricant

    - Verify weight of skylight does not exceed 100 lbs.

      - See installation instructions.

    - Verify jumper setting on back of switch

      - See installation instructions.

    - Verify proper wire gage is installed

      - See installation instructions.

    - Verify the manual hardware system installed on the skylight has a minimum of 5 handle rotations from fully closed to fully open.  The power window system may not function properly on skylights with fewer than 5 handle rotations.

  - Awning Window(s)

    - Verify the window operates smoothly with a hand crank

      - Torque to open or close should not exceed 15 in/lbs.

      - Pay particular attention to the smoothness of the window when closing it manually with a hand crank.  If the window hops or buffets while closing this is an indication that improper hinges may be installed on the window which can result in erratic motor operation.

        - If window hops or buffets when closing, the window needs to be evaluated for proper hinging.  Contact window manufacture’s service representative.

      - Check to see if the weather stripping is sticking to the frame in the closed position.  Sometimes weather stripping will stick to painted window surfaces.

        - Sometimes paraffin wax or automotive wax applied to the painted surface will solve the problem.

      - Check to see if the weather stripping is abnormally stiff causing excessive closing or opening force near the fully closed position.

        - If you suspect stiff weather stripping is causing motor problems contact the window manufacture’s service representative for an evaluation.

    - Verify jumper setting on back of switch

      - See installation instructions.

    - Verify proper wire gage is installed

      - See installation instructions.

    - Verify the power window system wiring is not installed parallel to a high voltage, high current wire run.

      - When installed parallel to a high voltage, high current wire run a signal can be induced into the power window system wiring causing erratic operation.  If this condition is present, it must be corrected by removing the condition.

    - Verify the manual hardware system installed on the window has a minimum of 5 handle rotations from fully closed to fully open.  The power window system will not function properly on windows with fewer than 5 handle rotations.

  - Casement window(s)

    - Verify the window operates smoothly with a hand crank

      - Torque to open and close should not exceed 15 in/lbs.

      - Check to see if the weather stripping is sticking to the frame in the closed position.  Sometimes weather stripping will stick to painted window surfaces.

        - Sometimes paraffin wax or automotive wax applied to the painted surface will solve the problem.

      - Check to see if the weather stripping is abnormally stiff causing excessive closing or opening force near the fully closed position.

        - If you suspect stiff weather stripping is causing motor problems contact the window manufacture’s service representative for an evaluation.

      - Casement windows will sometimes sag causing the bottom of the sash to drag across the window sill as it open sand closes.  This condition can cause erratic power window system operation.  To correct it, the sash must be re-squared within the frame.  This can be easily accomplished if the window has adjustable hinges.  (link to hinge adjustment page in Truth Catalog)

    - Verify jumper setting on back of switch

      - See installation instructions.

    - Verify proper wire gage is installed

      - See installation instructions.

    - Verify the power window system wiring is not installed parallel to a high voltage, high current wire run.

      - When installed parallel to a high voltage, high current wire run a signal can be induced into the power window system wiring causing erratic operation.  If this condition is present, it must be corrected by removing the condition.

    - Verify the manual hardware system installed on the window has a minimum of 5 handle rotations from fully closed to fully open.  The power window system will not function properly on windows with fewer than 5 handle rotations.

- Power connector will not stay in place

When the control switch is wired directly to heavy gage wire such as 14 AWG or 12 AWG the “PP” connector can become dislodged because of wire stiffness.  When this is a problem, a short piece of lighter gage, more flexible wire such as 18 AWG stranded wire should be coupled with the heavy gage wire within the control switch receptacle box then wired into the control switch.

- Motor system does not respond.

  - Verify there are no breaks or shorts in the installed wiring.

    - The only way to test the wire would be to use an ohm meter to check for shorts or opens.

  - Verify transformer output voltage.

    - It should read 24 to 28 VAC

  - Verify and test for proper wire size

    - If you do not have a wire gauge to measure the size you will need to read the size stamped on the cable itself.  Checking at the transformer is best for this because the wire there is usually more exposed.

    - The system wire size requirements vary by the length of the total wire run.  18 AWG wire can run up to 50 feet.  14 AWG wire can run up to 100 feet.  12 AWG wire can run up to 150 feet.  One thing to note is the total wire run measurement starts at the transformer, goes thru the switch and on to the farthest motor on that switch.

  - Determine if the problem is in the switch or the motor.

    - Determine if the motor is shorted or open.

      - Measure resistance across motor leads.  To test a motor:  Use an ohm meter to measure the motor resistance.  It typically will read about 8 ohms but it can vary between 6 and 25 ohms.  If the ohm reading is below 6 ohms or above 25 ohms the motor likely needs to be replaced.

  - Determine if the control switch is functioning

    - Disconnect power to control switch

    - Connect the motor leads from a motor you know to be good directly to MC and M1 on the back of the control switch.  Polarity does not matter.  If this is a multiple motor installation, only one motor needs to be connected.

    - Connect power to the control switch.

      - Do not press any buttons on the face of the control switch!

    - After a delay of up to 40 seconds the motor should begin to turn.  If the motor begins to turn, it will not stop until power is disconnected from the control switch.  This is proper operation.

    - If the motor does not function after 40 seconds then the control switch is likely bad and needs to be replaced.

    - If you have a multiple switch installation, you can swap out the switch you think is bad with one you know to be good and see if the problem follows the switch or the installation.

Note:  You will not be able to measure an output voltage unless a functioning motor is connected to MC and M1.

Motor pulses but does not operate  (Pulse means the motor starts up for a brief second then immediately shuts off.)

  - Verify the motor is connected to motor outputs MC and M1 on the back of the switch.  See installation instructions.

  - A bad motor will sometimes “pulse” when trying to operate.  Verify that the motor is good.

    - Measure resistance across motor leads.  To test a motor:  Use an ohm meter to measure the motor resistance.  It typically will read about 8 ohms but it can vary between 6 and 25 ohms.  If the ohm reading is below 6 ohms or above 25 ohms the motor likely needs to be replaced.

Motor hums but does not operate

1.  Check to see that the control switch supplied with the unit is installed properly.  Humming is an indication that 24 volts AC is being supplied directly to the motor unit bypassing the control switch.  The power window motors are designed to run on DC, not AC.  The control switch supplied with the power window system will convert AC input voltage to DC output voltage.

Understanding proper start-up sequence:

It is important to understand the Sentry 2000 Power window system start-up sequence for proper operation.  There are delays built into the start-up sequence which must be respected or improper operation will result.

| System Input | System Reaction |
| --- | --- |
| 1. System power up: After making all connections to the control switch, apply power to the system - wait at least 40 seconds. Do not press any buttons on the face of the control switch. | After a delay that could last up to 40 seconds, each window should close and stay closed. If the windows are already closed the motors will momentarily hum or pulse but the windows should stay closed. If any of the windows open instead of close, the motor polarity between the open window and the switch must be reversed. Any wiring changes must be done with power disconnected! |
| 2. Initialization: With power applied and all windows closed, press the reset button once. (Again, there will be a delay of up to 40 seconds before the window(s) begin to open.) | All windows will sequentially open then sequentially close. Once the last window is fully closed the system is fully initialized and is ready for normal operation. |
| 3a. Normal operation - Full open, all windows: Press open button once. | First window will immediately begin to open and will open to approximately 70% of full hardware extension. The second and third windows will follow sequentially. |
| 3b. Normal operation – Partial open, all windows: Press open button once. When the first window reaches the desired open position press the “close” button. | All windows will open to the same amount of opening as the first window. Note: Pressing the “close” button a second time will stop any subsequent window operation. The reverse is true when the window(s) are closing. |

Understanding Proper System Operation:

The Sentry 2000 Power Window System is designed to operate any crank operated window or skylight that has a 5/16 input spline that functions properly with a hand crank.  This includes all windows manufactured with hardware provided by Truth Hardware.  There are many operator systems on the market using a 5/16 spline that are not manufactured by Truth Hardware.  Truth can not guarantee proper operation with these window systems.  Be sure to look for the Truth Hardware logo on the operator arms.

Normal operation

For full window opening:

To fully open all windows, press “Open” the button once. The first window will immediately begin to open and will open to approximately 70% of full hardware extension.  If a second and third window is connected to the same switch, the second and third windows will follow sequentially.

Please note:  The Sentry 2000 power window system will not open a window or skylight to the full extension of the hardware.  The power window system is designed to only open a window or skylight to approximately 70% of full hardware extension.  The feature is designed to reduce wear and tear on the manual hardware system installed on the window and to increase window longevity.  The window(s) can be opened beyond the 70% limitation by pressing and holding the open button once the window(s) have reached full opening(70%) however this is not a recommended mode of operation as damage to the manual hardware system can result.

For partial Window Opening:

Single window:  For partial window opening, press “Open” button once.  When the window reaches the desired open position, press the “Close” button.  This will stop the window in its current location.

Helpful hint:  While the window is opening or closing, pressing the control switch button for the opposite direction will stop the window.

Multiple Windows:  Press open button once.  When the first window reaches the desired open position, press the “close” button.  All windows will open to the same amount of opening as the first window.

Note:  Pressing the “close” button a second time will stop any subsequent window operation.  The reverse is true when the window(s) are closing.

Reset (Initialization) procedure:

- The Sentry 2000 Power Window system is designed to function on virtually any window system that functions manually with a hand crank.  To accomplish this, the Sentry 2000 Power Window system must learn the open and closed position of each window it is installed upon.  This is accomplished through a “learn” mode initiated through the RESET button.  Once the Sentry 2000 Power window system has learned the limits of the window it is installed upon it retains the limits in memory as long as power is applied to the control switch.  The memory will survive short power interruptions of up to 15 seconds long but beyond that the window system will need to be “reset” to re-learn the window and hardware limitations.

- Power window system must see a positive stop when the window reaches fully open upon initialization.  This teaches the control switch the limits of the hardware system installed on the window.

Power window system operation in the event of a power outage

In the event of a power outage, the Sentry 2000 Power Window system will automatically close all windows immediately after power is restored.  Because a power outage greater than 15 seconds causes the control switch to lose its memory, the power window system will need to be reset.  The open and close buttons will not function if the memory has been lost.  This is an indication to you that power has been lost to the control switch and the unit needs to be reset.  This is done by pressing the reset button which causes the power window system to go through the initialization sequence.  (See “Reset (initialization) procedure” below.)

Rain Sensor Operation and Care

Rain sensor operation:  The rain sensor will close all windows connected to it when a drop of water contacts the rain sensor surface.  An activated rain sensor will hold the windows closed even when the “open” button is pushed.  Pushing and holding the open button will open the window(s) but the window(s) will immediately close when the “open” button is released.

Rain sensor care:  A dirty rain sensor can give false indications of rain and/or it may not detect rain as early as possible.  If the skylight(s) or window(s) will not open this may be an indication that the rain sensor needs to be cleaned.  It is a good idea to establish a regular maintenance schedule.  The rain sensor should be cleaned with a mild detergent.

Screen interlock.

This is a safety feature that when properly installed disconnects power to the window motor unit to prevent operation.  This is a required part of any installation within 8 feet from floor level since the Sentry 2000 Power Window system can be connected to a number of automatic control devices.  A window screen is an effective way of keeping children away from window pinch points should the window close automatically.

Power sash locks

Power sash locks are available for use on few wood windows.  Compatibility of the power sash lock with any given window system is determined by the window manufacturer.   The power sash locks work in conjunction with the power operator system and are automatically sequenced by the control switch as part of the opening and closing of the window.  If you are interested in power sash locks you need to inquire with the window manufacturer regarding compatibility with the Truth Hardware Sentry 2000 Power sash lock system.

Operating Torque

Under normal operation manual operating torque should not exceed 15 in/lbs. throughout the full range of motion from fully closed to fully opened.  This is especially important on new windows.  As a window or skylight ages the operating torque gradually goes up from the operating mechanisms wearing and from dust and dirt.  The Sentry 2000 Power Window system is designed to accommodate these higher torques caused through the normal window aging process.

Understanding control switch function

- The control switch converts AC to DC.  The motor itself is a 24 volt DC motor.  While the motor is functioning it is common to see voltage readings across the motor of 24 – 32 volts DC.

- Some window openers open when turned clockwise (CW), others open when turned counter clockwise (CCW).  The motor polarity between the motor and switch sometimes needs to be reversed depending on the window opener rotation.  When wired properly all windows will automatically close when the Sentry 2000 window system is powered up.  (See “Understanding Proper Start-up Sequence” for more information.)

- Must connect a single motor to MC & M1, a second motor to MC and M2 and a third motor to MC and M3.

- If motorized sash locks are used, only one window motor can be connected to a single control switch in addition to one or two motorized sash locks.

Safety back-off feature

The Sentry 2000 Power Window system is designed with a safety back-off feature.  If the power window system encounters an unexpected obstruction the motor system will stop and reverse.  The motor system will resume normal operation when the open or close button is pressed.

Remote input and feedback function (LCII systems only)

(See Tech Note #9 - Link to Tech Note No. 9)

Handle Rotations

The Sentry 2000 power window system requires that the hardware system installed on the window have a minimum of __ handle rotations from fully closed to fully open.  The power window system will not function properly on windows with fewer than __ handle rotations.

Window Aging

As windows age the hardware mechanisms can become dirty and they can begin to wear.  This generally causes less efficient window operation resulting in higher opening and closing forces.  The Sentry 2000 Power Window system has a way to protect itself and the manual window hardware from damage as a result.  The Sentry 2000 Power Window system continuously monitors the force required to open and close the window.  Should the force required to operate the manual window system exceed certain limits the Sentry 2000 Power Window System will stop the window unit from opening at the point where the higher forces are encountered and it will remember the point at which the higher forces were encountered.  It will then stop the window short of that point upon subsequent window operations.  This not only protects the manual window system and power window system from damage but also serves as an indication to the home owner that the window system is in need of maintenance.